## isa_assay
ASSAY
Assay Identifier | EXP001_BAS33_bacteriophage_sequencing
Assay Title | EXP001_BAS33_bacteriophage_sequencing
Assay Description | Quality control of the six provided DNA extracts by Nanodrop (concentration, A260/A280, A260/A230), duplicate Qubit measurements (averaged) and an agarose gel check; samples are abbreviated BAS33_R1–R3 → B_R1–R3 and BAS33_Dau5_R1–R3 → BD_R1–R3. Gel lanes left to right: BD_R1, BD_R2, BD_R3, B_R1, B_R2, B_R3, 1kb Plus ladder. See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md. ¦ Samples were mixed overnight on a tube roller (slow rotation), then 400 ng DNA per sample was prepared for native barcoding using the average Qubit concentration; calculated volumes were rounded up to the next whole µl. Two libraries per sample: library 1 = main sequencing library, library 2 = backup for reloading after flow cell flushing. The volume calculation is kept as written per sample label (the source swaps the B and BD labels, see annotation P-D2). See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md. ¦ DNA repair and end-prep/A-tailing following the Oxford Nanopore Technologies Native Barcoding Kit 24 V14 (SQK-NBD114.24) protocol (attached). See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md. ¦ Native barcoding with the Native Barcoding Kit 24 V14 (SQK-NBD114.24); the same sample received the same native barcode in both libraries. After barcoding, the samples of each library were pooled. See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md. ¦ Adapter ligation of both pooled libraries with the Native Barcoding Kit 24 V14 (SQK-NBD114.24). Qubit check after adapter ligation per library. See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md. ¦ Library 1 was loaded on a PromethION flow cell; library 2 was kept as backup. Run infos reported by the run summary are recorded as parameters. See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md.
Assay Measurement Type
Assay Measurement Type Term Accession Number
Assay Measurement Type Term Source REF
Assay Technology Type
Assay Technology Type Term Accession Number
Assay Technology Type Term Source REF
Assay Technology Platform
Assay File Name | assays/EXP001_BAS33_bacteriophage_sequencing/isa.assay.xlsx
Comment[protocol_name] | eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc
Comment[protocol_files] | eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md
Comment[protocol_description] | See details in: eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md
Comment[dataset_files]
Comment[process_1_name] | QC of provided DNA
Comment[process_1_description] | Quality control of the six provided DNA extracts by Nanodrop (concentration, A260/A280, A260/A230), duplicate Qubit measurements (averaged) and an agarose gel check; samples are abbreviated BAS33_R1–R3 → B_R1–R3 and BAS33_Dau5_R1–R3 → BD_R1–R3. Gel lanes left to right: BD_R1, BD_R2, BD_R3, B_R1, B_R2, B_R3, 1kb Plus ladder. See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md.
Comment[process_2_name] | Sample preparation
Comment[process_2_description] | Samples were mixed overnight on a tube roller (slow rotation), then 400 ng DNA per sample was prepared for native barcoding using the average Qubit concentration; calculated volumes were rounded up to the next whole µl. Two libraries per sample: library 1 = main sequencing library, library 2 = backup for reloading after flow cell flushing. The volume calculation is kept as written per sample label (the source swaps the B and BD labels, see annotation P-D2). See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md.
Comment[process_3_name] | Native FFPE repair and A-tailing
Comment[process_3_description] | DNA repair and end-prep/A-tailing following the Oxford Nanopore Technologies Native Barcoding Kit 24 V14 (SQK-NBD114.24) protocol (attached). See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md.
Comment[process_4_name] | Native barcoding
Comment[process_4_description] | Native barcoding with the Native Barcoding Kit 24 V14 (SQK-NBD114.24); the same sample received the same native barcode in both libraries. After barcoding, the samples of each library were pooled. See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md.
Comment[process_5_name] | Adapter Ligation
Comment[process_5_description] | Adapter ligation of both pooled libraries with the Native Barcoding Kit 24 V14 (SQK-NBD114.24). Qubit check after adapter ligation per library. See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md.
Comment[process_6_name] | Sequencing
Comment[process_6_description] | Library 1 was loaded on a PromethION flow cell; library 2 was kept as backup. Run infos reported by the run summary are recorded as parameters. See detailed protocol in: assays/EXP001_BAS33_bacteriophage_sequencing/protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md.
ASSAY PERFORMERS
Assay Person Last Name | experimenter
Assay Person First Name
Assay Person Mid Initials
Assay Person Email
Assay Person Phone
Assay Person Fax
Assay Person Address
Assay Person Affiliation | institute (removed)
Assay Person Roles | researcher
Assay Person Roles Term Accession Number | http://purl.org/spar/scoro/researcher
Assay Person Roles Term Source REF | SCORO
Comment[generation log] | generated by elab2arc

## samples
Input [Source Name] | Characteristic [Organism] | Term Source REF () | Term Accession Number () | Characteristic [sample type] | Term Source REF (OBI:0001051) | Term Accession Number (OBI:0001051) | Characteristic [bacteriophage] | Term Source REF () | Term Accession Number () | Characteristic [host organism] | Term Source REF (NCBITaxon:562) | Term Accession Number (NCBITaxon:562) | Characteristic [treatment] | Term Source REF () | Term Accession Number () | Characteristic [biological replicate] | Term Source REF () | Term Accession Number () | Characteristic [collection date] | Term Source REF () | Term Accession Number () | Characteristic [provider] | Term Source REF () | Term Accession Number () | Characteristic [sample abbreviation] | Term Source REF () | Term Accession Number () | Output [Sample Name]
BAS33_R1 | Escherichia coli |  |  | extracted DNA | OBI | https://bioregistry.io/OBI:0001051 | BAS33 |  |  | Escherichia coli | NCBITaxon | http://purl.obolibrary.org/obo/NCBITaxon_562 | untreated control |  |  | R1 |  |  | 2025-07-17 |  |  | the collaborating institute; the collaborating group |  |  | B_R1 |  |  | BAS33_R1
BAS33_R2 | Escherichia coli |  |  | extracted DNA | OBI | https://bioregistry.io/OBI:0001051 | BAS33 |  |  | Escherichia coli | NCBITaxon | http://purl.obolibrary.org/obo/NCBITaxon_562 | untreated control |  |  | R2 |  |  | 2025-07-17 |  |  | the collaborating institute; the collaborating group |  |  | B_R2 |  |  | BAS33_R2
BAS33_R3 | Escherichia coli |  |  | extracted DNA | OBI | https://bioregistry.io/OBI:0001051 | BAS33 |  |  | Escherichia coli | NCBITaxon | http://purl.obolibrary.org/obo/NCBITaxon_562 | untreated control |  |  | R3 |  |  | 2025-07-17 |  |  | the collaborating institute; the collaborating group |  |  | B_R3 |  |  | BAS33_R3
BAS33_Dau5_R1 | Escherichia coli |  |  | extracted DNA | OBI | https://bioregistry.io/OBI:0001051 | BAS33 |  |  | Escherichia coli | NCBITaxon | http://purl.obolibrary.org/obo/NCBITaxon_562 | daunorubicin | CHEBI | https://bioregistry.io/CHEBI:41977 | R1 |  |  | 2025-07-17 |  |  | the collaborating institute; the collaborating group |  |  | BD_R1 |  |  | BAS33_Dau5_R1
BAS33_Dau5_R2 | Escherichia coli |  |  | extracted DNA | OBI | https://bioregistry.io/OBI:0001051 | BAS33 |  |  | Escherichia coli | NCBITaxon | http://purl.obolibrary.org/obo/NCBITaxon_562 | daunorubicin | CHEBI | https://bioregistry.io/CHEBI:41977 | R2 |  |  | 2025-07-17 |  |  | the collaborating institute; the collaborating group |  |  | BD_R2 |  |  | BAS33_Dau5_R2
BAS33_Dau5_R3 | Escherichia coli |  |  | extracted DNA | OBI | https://bioregistry.io/OBI:0001051 | BAS33 |  |  | Escherichia coli | NCBITaxon | http://purl.obolibrary.org/obo/NCBITaxon_562 | daunorubicin | CHEBI | https://bioregistry.io/CHEBI:41977 | R3 |  |  | 2025-07-17 |  |  | the collaborating institute; the collaborating group |  |  | BD_R3 |  |  | BAS33_Dau5_R3

## QC_of_provided_DNA
Input [Source Name] | Protocol REF | Parameter [DNA quantification (spectrophotometer)] | Term Source REF () | Term Accession Number () | Parameter [DNA quantification (fluorometer)] | Term Source REF () | Term Accession Number () | Parameter [Qubit standard 1 reading] | Term Source REF () | Term Accession Number () | Parameter [Qubit standard 2 reading] | Term Source REF () | Term Accession Number () | Parameter [Agarose concentration] | Unit | Term Source REF () | Term Accession Number () | Parameter [Gel loading volume] | Unit | Term Source REF () | Term Accession Number () | Parameter [Gel stain] | Term Source REF () | Term Accession Number () | Parameter [DNA ladder] | Term Source REF () | Term Accession Number () | Parameter [Nanodrop DNA concentration] | Unit | Term Source REF () | Term Accession Number () | Parameter [A260/A280] | Term Source REF () | Term Accession Number () | Parameter [A260/A230] | Term Source REF () | Term Accession Number () | Parameter [Qubit DNA concentration, measurement 1] | Unit | Term Source REF () | Term Accession Number () | Parameter [Qubit DNA concentration, measurement 2] | Unit | Term Source REF () | Term Accession Number () | Parameter [Qubit DNA concentration, average] | Unit | Term Source REF () | Term Accession Number () | Output [Data]
BAS33_R1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Nanodrop |  |  | Qubit |  |  | 581.84 |  |  | 49578.98 |  |  | 0.8 | % |  |  | 1 | µl |  |  | GelRed |  |  | 1kb Plus ladder |  |  | 734 | ng/µl |  |  | 1.8 |  |  | 2.1 |  |  | 292 | ng/µl |  |  | 107 | ng/µl |  |  | 199.5 | ng/µl |  |  | 85318-EXP001_BAS33_bacteri/Bacteriophages_extracted_DNA_Gel_403059.elab2arc.png
BAS33_R2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Nanodrop |  |  | Qubit |  |  | 581.84 |  |  | 49578.98 |  |  | 0.8 | % |  |  | 1 | µl |  |  | GelRed |  |  | 1kb Plus ladder |  |  | 521 | ng/µl |  |  | 1.9 |  |  | 2.4 |  |  | 97.8 | ng/µl |  |  | 93 | ng/µl |  |  | 95.4 | ng/µl |  |  | 85318-EXP001_BAS33_bacteri/Bacteriophages_extracted_DNA_Gel_403059.elab2arc.png
BAS33_R3 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Nanodrop |  |  | Qubit |  |  | 581.84 |  |  | 49578.98 |  |  | 0.8 | % |  |  | 1 | µl |  |  | GelRed |  |  | 1kb Plus ladder |  |  | 569 | ng/µl |  |  | 1.8 |  |  | 2.4 |  |  | 117 | ng/µl |  |  | 242 | ng/µl |  |  | 179.5 | ng/µl |  |  | 85318-EXP001_BAS33_bacteri/Bacteriophages_extracted_DNA_Gel_403059.elab2arc.png
BAS33_Dau5_R1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Nanodrop |  |  | Qubit |  |  | 581.84 |  |  | 49578.98 |  |  | 0.8 | % |  |  | 1 | µl |  |  | GelRed |  |  | 1kb Plus ladder |  |  | 405 | ng/µl |  |  | 1.8 |  |  | 2.2 |  |  | 116 | ng/µl |  |  | 96.2 | ng/µl |  |  | 106.1 | ng/µl |  |  | 85318-EXP001_BAS33_bacteri/Bacteriophages_extracted_DNA_Gel_403059.elab2arc.png
BAS33_Dau5_R2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Nanodrop |  |  | Qubit |  |  | 581.84 |  |  | 49578.98 |  |  | 0.8 | % |  |  | 1 | µl |  |  | GelRed |  |  | 1kb Plus ladder |  |  | 414 | ng/µl |  |  | 1.9 |  |  | 2.2 |  |  | 127 | ng/µl |  |  | 94.6 | ng/µl |  |  | 110.6 | ng/µl |  |  | 85318-EXP001_BAS33_bacteri/Bacteriophages_extracted_DNA_Gel_403059.elab2arc.png
BAS33_Dau5_R3 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Nanodrop |  |  | Qubit |  |  | 581.84 |  |  | 49578.98 |  |  | 0.8 | % |  |  | 1 | µl |  |  | GelRed |  |  | 1kb Plus ladder |  |  | 523 | ng/µl |  |  | 1.7 |  |  | 2.0 |  |  | 173 | ng/µl |  |  | 94.2 | ng/µl |  |  | 133.6 | ng/µl |  |  | 85318-EXP001_BAS33_bacteri/Bacteriophages_extracted_DNA_Gel_403059.elab2arc.png

## Sample_preparation
Input [Sample Name] | Protocol REF | Parameter [Sample homogenisation] | Term Source REF () | Term Accession Number () | Parameter [DNA input per sample] | Unit | Term Source REF () | Term Accession Number () | Parameter [Concentration used for volume calculation] | Term Source REF () | Term Accession Number () | Parameter [Volume rounding] | Term Source REF () | Term Accession Number () | Parameter [Libraries per sample] | Term Source REF () | Term Accession Number () | Parameter [Sample volume per library] | Unit | Term Source REF () | Term Accession Number () | Parameter [Qubit standard 1 reading] | Term Source REF () | Term Accession Number () | Parameter [Qubit standard 2 reading] | Term Source REF () | Term Accession Number () | Parameter [Concentration used for volume calculation, as written] | Unit | Term Source REF () | Term Accession Number () | Parameter [Calculated DNA volume, as written] | Unit | Term Source REF () | Term Accession Number () | Parameter [Qubit DNA concentration] | Unit | Term Source REF () | Term Accession Number () | Parameter [DNA amount] | Unit | Term Source REF () | Term Accession Number () | Output [Sample Name]
BD_R1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 199.5 | ng/µl |  |  | 2.01 | µl |  |  | 45.0 | ng/µl |  |  | 495 | ng |  |  | BD_R1 1
BD_R1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 199.5 | ng/µl |  |  | 2.01 | µl |  |  | 46.8 | ng/µl |  |  | 514.8 | ng |  |  | BD_R1 2
BD_R2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 95.4 | ng/µl |  |  | 4.19 | µl |  |  | 45.0 | ng/µl |  |  | 495 | ng |  |  | BD_R2 1
BD_R2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 95.4 | ng/µl |  |  | 4.19 | µl |  |  | 50.4 | ng/µl |  |  | 554.4 | ng |  |  | BD_R2 2
BD_R3 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 179.5 | ng/µl |  |  | 2.2 | µl |  |  | 43.0 | ng/µl |  |  | 473 | ng |  |  | BD_R3 1
BD_R3 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 179.5 | ng/µl |  |  | 2.2 | µl |  |  | 59.8 | ng/µl |  |  | 657.8 | ng |  |  | BD_R3 2
B_R1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 106.1 | ng/µl |  |  | 3.77 | µl |  |  | 48.0 | ng/µl |  |  | 528 | ng |  |  | B_R1 1
B_R1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 106.1 | ng/µl |  |  | 3.77 | µl |  |  | 49.0 | ng/µl |  |  | 539 | ng |  |  | B_R1 2
B_R2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 110.6 | ng/µl |  |  | 3.61 | µl |  |  | 41.6 | ng/µl |  |  | 457.6 | ng |  |  | B_R2 1
B_R2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 110.6 | ng/µl |  |  | 3.61 | µl |  |  | 49.2 | ng/µl |  |  | 541.2 | ng |  |  | B_R2 2
B_R3 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 133.6 | ng/µl |  |  | 2.99 | µl |  |  | 44.2 | ng/µl |  |  | 486.2 | ng |  |  | B_R3 1
B_R3 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | overnight on a tube roller (slow rotation) |  |  | 400 | ng |  |  | average Qubit concentration |  |  | rounded up to the next whole µL |  |  | 2 |  |  | 11 | µl |  |  | 514.84 |  |  | 49774.29 |  |  | 133.6 | ng/µl |  |  | 2.99 | µl |  |  | 43.8 | ng/µl |  |  | 481.8 | ng |  |  | B_R3 2

## Native_FFPE_repair_and_A-tailin
Input [Sample Name] | Protocol REF | Parameter [Kit] | Term Source REF () | Term Accession Number () | Parameter [Qubit standard 1 reading] | Term Source REF () | Term Accession Number () | Parameter [Qubit standard 2 reading] | Term Source REF () | Term Accession Number () | Parameter [Qubit DNA concentration after A-tailing] | Unit | Term Source REF () | Term Accession Number () | Output [Sample Name]
BD_R1 1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 33.4 | ng/µl |  |  | BD_R1 1 A-tailed
BD_R1 2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 52.8 | ng/µl |  |  | BD_R1 2 A-tailed
BD_R2 1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 39.8 | ng/µl |  |  | BD_R2 1 A-tailed
BD_R2 2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 56.2 | ng/µl |  |  | BD_R2 2 A-tailed
BD_R3 1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 32.4 | ng/µl |  |  | BD_R3 1 A-tailed
BD_R3 2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 30.8 | ng/µl |  |  | BD_R3 2 A-tailed
B_R1 1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 32.6 | ng/µl |  |  | B_R1 1 A-tailed
B_R1 2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 32.4 | ng/µl |  |  | B_R1 2 A-tailed
B_R2 1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 33.6 | ng/µl |  |  | B_R2 1 A-tailed
B_R2 2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 35.8 | ng/µl |  |  | B_R2 2 A-tailed
B_R3 1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 36.8 | ng/µl |  |  | B_R3 1 A-tailed
B_R3 2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.58 |  |  | 47818.55 |  |  | 31.4 | ng/µl |  |  | B_R3 2 A-tailed

## Native_barcoding
Input [Sample Name] | Protocol REF | Parameter [Kit] | Term Source REF () | Term Accession Number () | Parameter [Native barcode] | Term Source REF () | Term Accession Number () | Parameter [Pooling] | Term Source REF () | Term Accession Number () | Parameter [Qubit standard 1 reading] | Term Source REF () | Term Accession Number () | Parameter [Qubit standard 2 reading] | Term Source REF () | Term Accession Number () | Parameter [Qubit DNA concentration of the pool] | Unit | Term Source REF () | Term Accession Number () | Output [Sample Name]
BD_R1 1 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB19 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 51.4 | ng/µl |  |  | Library 1
BD_R1 2 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB19 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 48.4 | ng/µl |  |  | Library 2
BD_R2 1 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB20 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 51.4 | ng/µl |  |  | Library 1
BD_R2 2 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB20 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 48.4 | ng/µl |  |  | Library 2
BD_R3 1 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB21 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 51.4 | ng/µl |  |  | Library 1
BD_R3 2 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB21 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 48.4 | ng/µl |  |  | Library 2
B_R1 1 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB22 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 51.4 | ng/µl |  |  | Library 1
B_R1 2 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB22 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 48.4 | ng/µl |  |  | Library 2
B_R2 1 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB23 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 51.4 | ng/µl |  |  | Library 1
B_R2 2 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB23 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 48.4 | ng/µl |  |  | Library 2
B_R3 1 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB24 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 51.4 | ng/µl |  |  | Library 1
B_R3 2 A-tailed | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | NB24 |  |  | per library |  |  | 531.89 |  |  | 43225.78 |  |  | 48.4 | ng/µl |  |  | Library 2

## Adapter_Ligation
Input [Sample Name] | Protocol REF | Parameter [Kit] | Term Source REF () | Term Accession Number () | Parameter [Qubit standard 1 reading] | Term Source REF () | Term Accession Number () | Parameter [Qubit standard 2 reading] | Term Source REF () | Term Accession Number () | Parameter [Library volume] | Unit | Term Source REF () | Term Accession Number () | Parameter [Qubit DNA concentration] | Unit | Term Source REF () | Term Accession Number () | Parameter [DNA amount] | Unit | Term Source REF () | Term Accession Number () | Output [Sample Name]
Library 1 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.97 |  |  | 42140.42 |  |  | 24 | µl |  |  | 48 | ng/µl |  |  | 1,152 | ng |  |  | Library 1 adapter-ligated
Library 2 | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Native Barcoding Kit 24 V14 (SQK-NBD114.24) |  |  | 544.97 |  |  | 42140.42 |  |  | 24 | µl |  |  | 58.6 | ng/µl |  |  | 1,406.4 | ng |  |  | Library 2 adapter-ligated

## Sequencing
Input [Sample Name] | Protocol REF | Parameter [Sequencing platform] | Term Source REF () | Term Accession Number () | Parameter [Flow cell type] | Term Source REF () | Term Accession Number () | Parameter [Flow cell ID] | Term Source REF () | Term Accession Number () | Parameter [Pores] | Term Source REF () | Term Accession Number () | Parameter [Port] | Term Source REF () | Term Accession Number () | Parameter [Run name] | Term Source REF () | Term Accession Number () | Parameter [Estimated bases] | Unit | Term Source REF () | Term Accession Number () | Parameter [Estimated N50] | Unit | Term Source REF () | Term Accession Number () | Parameter [Reads] | Unit | Term Source REF () | Term Accession Number () | Parameter [Runtime] | Term Source REF () | Term Accession Number () | Output [Sample Name]
Library 1 adapter-ligated | protocols/eLabFTW_protocol_85318_EXP001_BAS33_bacteriophage_seq.elab2arc.md | Promethion |  |  | FLO-PRO114M |  |  | PBE55013 |  |  | 6924 |  |  | 2H |  |  | 20250721_bacteriophagesBas33_NB_DNA_prom |  |  | 134.82 | Gb |  |  | 1.49 | kb |  |  | 113.75 | M |  |  | 68 hrs 44 mins |  |  | 20250721_bacteriophagesBas33_NB_DNA_prom